## Experiment_and_Findings
HPLC for determining the existence and concentration of caffeine

Article on HPLC	Lab courtesy of Tsakalidis Analysis&Testing			Test data

Concentration (mg/mL)	Absorption (mAU*s)	Ratio (mg/(mL*mAU*s))		Sample	Absorption (mAU*s)	Concentration (mg/mL)
0.5	4273.80273	0.000116992		Redbull (32 mg/mL)	2633.02856	0.30692339
0.25	2174.71729	0.000114957
0.05	432.01697	0.000115736

Averages		Ratio of averages		Experimental process
0.266666667	2293.51233	0.00011627		Known samples were made by hand from pure caffeine powder and gradually dissolved from 1 to 0.5 to 0.25 to 0.1 to 0.05 mg/mL.
		Average of ratios		The unknown sample (Redbull) was decarbonated before passing through HPLC.
		0.000115895
		Linear regression slope		Instruments
		0.000116567		Digital Scale (up to 0.01g)
Concentration vs Absorption / Absorption (mAU*s) / Concentration (mg/mL)				Micropipettes (±3.0 to 0.8 μL)
				Pipettes (± a lot)
				Ultrasonic Bath for decarbonation

			Comment on intercept